Fee Paid: $_____________________

Application Date

Permit Number

Zoning Approval:  Yes      No 

WHITFIELD COUNTY 			    	       □   NEW

ENVIRONMENTAL HEALTH 			          □   REPAIR

136 Gillespie Drive  Dalton, GA 30721			          □   REPLACEMENT

706-272-2005 (phone) • 706-272-2442 (fax) 		                    □   ADD/MOD.

#### APPLICATION: ON-SITE SEWAGE MANAGEMENT SYSTEM

| PROPERTY OWNER TELEPHONE | APPLICANT TELEPHONE |  |  |
| --- | --- | --- | --- |
| MAILING ADDRESS | MAILING ADDRESS PARCEL # |  |  |
| PROPOSED CONSTRUCTION SITE AND DIRECTIONS | SUBDIVISION NAME | LOT # | LOT SIZE |

TYPE FACILITY		           	PLUMBING DESIGN        	WATER SOURCE                       MINUMUM REQUIREMENTS

 HOUSE		     ______# of Bedrooms	  Ground Level	    	  Individual	    __________ Septic Tank Capacity  Depth ______________

 MOBILE HOME	     ______Gallons per day              Basement	    	  Public	                      __________ LF gravel (36”wide)    Other _______________

 OTHER	______________________________________________           SOIL CONDITIONS		    __________ Dosing Chamber          LF _________________

 EXISTING                   Garbage Disposal:  Yes     No  ______________Soil Type   __________Perc. Rate	    __________ ATU                             Width ______________

| I hereby apply for a construction permit to install or construct a sewage disposal system and agree that the system will be installed to conform to the requirements of the rules and regulations of the Georgia Department of Human Resources Public Health, Chapter 290-5-26. I understand that final inspection is required and will notify the Health Department upon completion of construction and before applying final cover. This application expires (12) months from date of issue. Cutting or filling may void this permit. Installation requires certified septic contractor. SITE  APPROVED  DENIED # AUTHORIZED SIGNATURE: | This permit is not valid unless properly signed below. Whitfield County Health Department will not be responsible for conditions unknown at time of Permit Inspection. MIN. 100 FT. FROM WELLS: 50 FT. FROM STREAMS OR PONDS. |  |  |
| --- | --- | --- | --- |
|  | SIGNATURE | TITLE | DATE OF ISSUE |
| COMMENTS: |  |  |  |

 ON SITE SEWAGE MANAGEMENT SYSTEM INSPECTION REPORT

PRIMARY TREATMENT

Septic Tank …………………………      ______ Gal

Dosing Tank ………………………..      ______ Gal.	Distance septic tank from well………     _______ Ft.

SECONDARY TREATMENT

 Serial       Level      Distribution Box     Pump

Gravel ____________   Other _________________

Total Linear Feet…………………..       ________Ft.

Nearest property line _______________________Ft.

Width of Trench ………………….        _________

Number of Trenches……………….       ________

Average Distance between Trenches     _________Ft.

Average Trench Depth ……………      _________In.

Distance from Building Foundation.      ________ Ft.

Distance from Well………………..        ________Ft.

-SYSTEM- □ APPROVED □ DISAPPROVED _____________________ Date

COMMENTS: _____________________________________________________________________

__________________________________________________________________________________

| _________________________________________________________________________________ INSPECTOR | CONTRACTOR |
| --- | --- |